## Slide 1: Rethinking On-Demand Irrigation Systems using IoT Stand-Alone Technologies
Giacomo Ferrarese1
Giacomo Ferrarese1, Alessandro Pagano2, Davide Troiani1, Anna Ceni1, Axel I. Hutomo1, Nicola Fontana3,
Gustavo Marini3, Stefano Mambretti1, Stefano Malavasi1
1 Politecnico di Milano, Milan, Italy
2 IRSA CNR, Bari, Italy
3 Universita degli Studi del Sannio, Benevento, Italy

## Slide 2
TABLE OF CONTENT
I
II
III
IV
Case Study
& Methods
Introduction
Results
& Discussion
Conclusions
& Recommendation

## Slide 3
I. INTRODUCTIONS
IoT can be used for
equitable distribution
and efficient water usage
The current phenomenon
of IoT in irrigation areas:
High Interest, Low Adoption [1]
Green Valve (GVS) and
Off-grid Automatic System
(OAS) have been developed [2,3]
The application and utility
of IoT in the management
levels remain limited [1]
These devices can recover energy and add functionalities to the control node
Testing real application impact
on pressure management and
energy recovery

## Slide 4
I. INTRODUCTIONS
I think showing a simple description of GVS and OAS in here would be good

## Slide 5
II. CASE STUDY & METHODS
An irrigation network in Europe, called UFITA,
was used as a case study. Data for this study was
collected from the Central and Eastern areas.
Central Area
East Area
Legend:
UFITA NETWORKS
 | East Area | Central Area
No. of nodes | 206 | 368
No. of hydrants | 111 | 92
Pipe length (km) | ? | ?
Type of collected data | Historical hydrant usage | 
Type of plantation | Vegetables & tobacco | 
Data collection | Card reader at hydrant | 
Problems | Deficit & surplus pressure | 
I think mentioning the central and east areas is enough,
since we didn’t do anything with the western part.

## Slide 6
II. CASE STUDY & METHODS
Hydrant Performance Overview by Month
JUNE
June presents the greatest challenge for the water distribution system.
Hydrant usage : Up to 45 hydrants active (highest of the season)
Pressure : Drops to a minimum of 20 meters
However, most of the hydrants have a surplus of pressure.
Minimum Pressure 20m
Average
Pressure 80m
Highest Cont.
Hydrants 45
Therefore, this study investigates minimising pressure according to the real demand of the network by installing two GVS in the east and west zones.
Additionally, the potential for energy recovery due to the installation of OAS is also being investigated.

## Slide 7
II. CASE STUDY & METHODS
Start
Perform Hydraulic Simulation
Define the boundary and initial condition
Define the time step (0.5 h)
Set the demand based on historical hydrant usage
Input:
Output:
Pressure data frame at hydrant nodes
Perform GVS Analysis
Input:
Perform OAS Analysis
End
Pressure data frame at hydrant nodes
Calculate available pressure for GVS
Output:
Pressure data frame at hydrant nodes after GVS installation
Input:
Calculate the energy consumption of the valve due to the status, communication, and movement of the valve
Output:
Energy data frame that can be recovered
I think showing a simple diagram like this would help in explaining the methods

## Slide 8
III. RESULTS & DISCUSSION
Central Area
East Area
Legend:
UFITA NETWORKS
Inlet of
Central Area
Inlet of
East Area
The GVS and OAS devices are being
placed at the inlet of the central and east area
+
=
Ball Valve
to control
the flow
Turbine
to harvest
the energy
An IoT self-sustainable control system device
Device Placement

## Slide 9
III. RESULTS & DISCUSSION
Pressure at Hydrants
Before and After GVS
Before GVS
After GVS
Minimum Pressure 20m
Installing GVS can reduce pressure at hydrant nodes by around 61% while maintaining the minimum required pressure of 20 meters.
Maybe we can show a colour coded pressure map of our irrigation networks. Before and after GVS. It would help the readers to understand where is the highest pressure in the network and deliver the effectiveness of GVS.
High Pressure
Low Pressure
GVS Analysis

## Slide 10
III. RESULTS & DISCUSSION
I think replacing this chart with a color-coded pressure map is better.
Because the viewer also don’t know where the location of demand node ID

## Slide 11
III. RESULTS & DISCUSSION
The most critical period for device sustainability is the off-season period.
No energy is recovered, but a low-continuous consumption is needed for signal reception.
Off
Season
Period
OAS Analysis
Show a number of required energy to run the device?
And perhaps number of energy that can be recovered?

## Slide 12
IV. CONCLUSIONS & RECOMMENDATION
Main Takeaway
The average pressure reduction in the network by 61% while maintaining the minimum pressure required by the hydrants.
The energy sustainability of the system is proven by verifying the energy balance of several devices throughout the season.
Should we mention that the devices are able to run independently due to the energy recovered by the OAS device?
Further Recommendation
Conduct an economic assessment for evaluating field installations, and identifying optimal locations for OAS based on their criticality and cost-effectiveness.

## Slide 13: Thank you
Giacomo Ferrarese1
Giacomo Ferrarese1, Alessandro Pagano2, Davide Troiani1, Anna Ceni1, Axel I. Hutomo1, Nicola Fontana3,
Gustavo Marini3, Stefano Mambretti1, Stefano Malavasi1
1 Politecnico di Milano, Milan, Italy
2 IRSA CNR, Bari, Italy
3 Universita degli Studi del Sannio, Benevento, Italy

## Slide 14
[1] Xu, J.; Gu, B.; Tian, G. Review of agricultural IoT technology. Artificial Intelligence in Agriculture. 2022, 6, 10–22.
[2] Malavasi, S.; Rossi, M.M.A.; Ferrarese, G. GreenValve: hydrodynamics and applications of the control valve for energy harvesting. Urban Water Journal. 2016, 15, 200–9.
[3] Ferrarese, G.; Pagano, A.; Fratino, U.; Malavasi, S. Improving Operation of Pressurized Irrigation Systems by an Off-grid Control Devices Network. Water Resources Management. 2021, 35, 2813-14, https://doi.org/10.1007/s11269-021-02869-5
REFERENCES

## Slide 15
SUPPLEMENTARY DOCUMENTS
Additional diagrams or figures to help during the QnA session